INTUBLADE  |  VIDEO LARYNGOSCOPY SKILLS EVALUATION SHEET    Protocol AW-001  |  Level: Paramedic
Provider & Session Information
	Provider Name:
	
	Agency:
	
	Date:
	

	Evaluator:
	
	Credential:
	
	Attempt #:
	


★ = Critical Step  |  P = Pass  |  NP = Not Performed/Incorrect  |  Failure of any ★ Critical Step = automatic remediation required
	
	SKILL ELEMENT
	P / NP
	NOTES

	A. PRE-INTUBATION SETUP

	☐
	Ensures scene safety and adequate personnel (minimum 2 providers)
	☐  ☐
	

	☐
	Pre-oxygenates patient (100% O2 via NRB or BVM ≥ 3 minutes when time permits)
	☐  ☐
	

	☐
	Positions patient optimally (sniffing position; ramped for obese patients)
	☐  ☐
	

	☐
	Prepares all equipment; confirms suction functional and within reach
	☐  ☐
	

	☐
	Opens IntuBlade app on iPad/Android device
	☐  ☐
	

	☐
	Connects IntuBlade to device via USB-C; confirms video feed is active
	☐  ☐
	

	★
	★ CRITICAL: Confirms app is recording before proceeding
	☐  ☐
	

	☐
	Establishes IV/IO access
	☐  ☐
	

	☐
	Administers RSI medications per protocol (if indicated)
	☐  ☐
	

	B. INTUBATION PROCEDURE

	☐
	Inserts IntuBlade into right side of mouth, sweeping tongue to left
	☐  ☐
	

	☐
	Advances blade to vallecula using MAC technique; lifts anteriorly
	☐  ☐
	

	☐
	Obtains epiglottoscopy view (epiglottis visualized, cords below); avoids going too deep
	☐  ☐
	

	☐
	Suctions airway using SALAD technique if secretions/blood present
	☐  ☐
	

	★
	★ CRITICAL: Passes ET tube through vocal cords under direct/video visualization
	☐  ☐
	

	☐
	Removes stylet; inflates cuff with 5–10cc air
	☐  ☐
	

	☐
	Notes tube depth at teeth (adult target: 21–23cm)
	☐  ☐
	

	C. CONFIRMATION (ALL REQUIRED)

	★
	★ CRITICAL: Waveform capnography (ETCO2) — PRIMARY confirmation method
	☐  ☐
	

	☐
	Auscultates bilateral breath sounds; confirms absence of epigastric sounds
	☐  ☐
	

	☐
	Visualizes bilateral chest rise
	☐  ☐
	

	☐
	Confirms SpO2 maintenance or improvement
	☐  ☐
	

	☐
	Secures tube with commercial holder; reassesses after each patient movement
	☐  ☐
	

	D. POST-PROCEDURE & DOCUMENTATION

	☐
	Disposes of IntuBlade per biohazard protocols (single-use only)
	☐  ☐
	

	☐
	Confirms video auto-uploaded to cloud (cellular/WiFi); no additional steps required
	☐  ☐
	

	☐
	Documents in ePCR: indication, pre-oxygenation, medications, device, blade size
	☐  ☐
	

	☐
	Documents: attempts, ET tube size and depth, ETCO2 value, complications, post-intubation vitals
	☐  ☐
	

	E. FAILED AIRWAY RECOGNITION & RESPONSE

	★
	★ CRITICAL: Recognizes failed airway: unable to intubate after 2 attempts OR SpO2 < 90%
	☐  ☐
	

	☐
	Returns to BVM ventilation with OPA/NPA
	☐  ☐
	

	☐
	Inserts supraglottic airway (i-gel, King LT, or LMA)
	☐  ☐
	

	☐
	If CICO: performs surgical cricothyrotomy
	☐  ☐
	

	☐
	Contacts Medical Control
	☐  ☐
	



	OVERALL OUTCOME

	☐  PASS
	☐  NOT YET COMPETENT
	Evaluator Signature: 
	Medical Director Review: 

	Comments / Remediation Notes:
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